## Application Form
Question | Choices | Help Text / Description | Form Section | Pre-Approval or Claim | Dependent Field | Dependent Expression | Dependent Value
Customer Name |  |  | Customer Information | Claim
Customer Email Address |  | customeremail@inbox.com | Customer Information | Claim
Customer Phone Number |  | ###-###-#### | Customer Information | Claim
Pre-Approval Code |  | This will be generated from your approved reservation. | Customer Information | Claim
Is this a 3CE customer? | Yes¦No |  | Customer Information | Claim
Customer is on a CARE/FERA rate? |  | CARE/FERA enrollment can be found on the customer's utility bill. This is a requirement for 3CE LMI incentives before 10/24/24. | Customer Information | Claim | Is this a 3CE customer? | = | Yes
Did the customer confirm they will enroll in a Demand Response program? | Yes¦No¦No, None Available | For projects invoiced after 10/23/24, enrollment in a DR program (if available) is required for TECH & 3CE but NOT for HEEHRA. | Customer Information | Claim
Which demand response program did the customer enroll in? | OhmConnect - PG&E, SCE, SDG&E¦FlexSaver - PG&E¦Smart Rate™ - PG&E¦ART - PG&E¦MEO - SMUD¦MEO Partner+ - SMUD¦Smart Energy Program - SCE¦Summer Discount Plan - SCE¦Local Virtual Power Plant - some SCE areas¦Power Response - some SCE areas¦TOU-DR-P Pricing Plan - SDG&E |  | Customer Information | Claim | Did the customer confirm they will enroll in a Demand Response program? | = | Yes
Did the customer indicate on the T&Cs that they would like to opt-in to donate their advanced meter interval and billing data? | Yes¦No | Found in section 1 of the TECH Customer Terms and Conditions. | Customer Information | Claim
What AMI range does the customer fall into? | <80% AMI¦80%-150% AMI¦>150% AMI or Unsure |  | Customer Information | Claim
Proof of income range (PDF) from TECH Income Verification Portal |  |  | Customer Information | Claim | What AMI range does the customer fall into? | in | <80% AMI¦80%-150% AMI
Are you seeking a HEEHRA rebate? | Yes¦No |  | Customer Information | Claim | What AMI range does the customer fall into? | in | <80% AMI¦80%-150% AMI
How would the customer prefer to receive their program experience survey? | Email¦US Postal Mail¦Phone Call | Customer will receive survey no sooner than 3 months after rebate is issued. | Customer Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Installation County | Alameda ¦ Alpine ¦ Amador ¦ Butte ¦ Calaveras ¦ Colusa ¦ Contra Costa ¦ Del Norte ¦ El Dorado ¦ Fresno ¦ Glenn ¦ Humboldt ¦ Imperial ¦ Inyo ¦ Kern ¦ Kings ¦ Lake ¦ Lassen ¦ Los Angeles ¦ Madera ¦ Marin ¦ Mariposa ¦ Mendocino ¦ Merced ¦ Modoc ¦ Mono ¦ Monterey ¦ Napa ¦ Nevada ¦ Orange ¦ Placer ¦ Plumas ¦ Riverside ¦ Sacramento ¦ San Benito ¦ San Bernardino ¦ San Diego ¦ San Francisco ¦ San Joaquin ¦ San Luis Obispo ¦ San Mateo ¦ Santa Barbara ¦ Santa Clara ¦ Santa Cruz ¦ Shasta ¦ Sierra ¦ Siskiyou ¦ Solano ¦ Sonoma ¦ Stanislaus ¦ Sutter ¦ Tehama ¦ Trinity ¦ Tulare ¦ Tuolumne ¦ Ventura ¦ Yolo ¦ Yuba |  | Site Information | Claim
Is the home owner- or renter-occupied? | Owner¦Renter |  | Site Information | Claim
Was this installation at a home that was damaged by a Governor-proclaimed disaster? |  |  | Site Information | Claim | Is this a 3CE customer? | = | Yes
Electrical Panel Capacity (pre install) |  |  | Site Information | Claim
Electrical Panel Capacity (post install) |  |  | Site Information | Claim
Was solar PV present at the house before heat pump installation? | Yes¦No |  | Site Information | Claim
Facility Type | Single Family¦Multifamily | Refers to the type of building that the unit is installed in, not the program that the project qualifies for. | Site Information | Claim
Previous Existing Primary Fuel Type | Gas¦Electric¦Propane¦Other | Project cannot replace another heat pump. | Site Information | Claim
What is the existing heating distribution type? | Forced Air Furnace¦Hydronic/Steam boiler¦Baseboard¦Other | Please provide the primary heating system type of the existing system. The project cannot replace another heat pump. | Site Information | Claim
Did the customer have a previous AC system? | Yes¦No | The heat pump installed must provide a majority of the cooling for the house. | Site Information | Claim
Previous AC Type | Room Unit¦Central¦Portable |  | Site Information | Claim | Did the customer have a previous AC system? | = | Yes
Type of emergency power back-up in place? | Battery¦Generator¦2-way Electric Vehicle¦Other¦None |  | Site Information | Claim
Invoice Number |  | Identifier associated with the invoice. | Project Information | Claim
Invoice Total |  | Include total cost for the HVAC project only (material, labor, permitting, etc) PRIOR to any incentives/discounts being applied | Project Information | Claim
Invoice Material Cost |  | Include total cost for equipment and materials associated with the HVAC project. This should match the ltemized SoW. | Project Information | Claim
Invoice Upload |  | PDF of the invoice with TECH incentive(s) listed as a line item(s). | Project Information | Claim
Itemized Statement of Work Upload |  | See the TECH Knowledgebase for a template and more information. | Project Information | Claim
How was the incentive passed through to the customer? | Instant Rebate¦Delayed Passthrough |  | Project Information | Claim
Permit Number |  | Identifier associated with the permit. Permits are a requirement for all HVAC projects. | Project Information | Claim
Installation Start Date |  |  | Project Information | Claim
Installation End Date |  |  | Project Information | Claim
TECH Terms and Conditions Signed Date [For projects under contract after 11/11/24, provide the TECH customer T&Cs signed date. Provide the sales contract date if not.] |  | If invoice was dated after 10/23/24, provide the signature date of TECH customer T&Cs. Provide the sales contract date if not. | Project Information | Claim
Signed TECH T&Cs Upload [For projects under contract after 11/11/24, provide the TECH customer T&Cs. Provide the sales contract date if not.] |  | If invoice was dated after 10/23/24, provide the TECH customer T&Cs. Provide the signed sales contract if not. | Project Information | Claim
Which distributor was the equipment purchased through? | AC Pro¦AirGrean Enterprise¦American Refrigeration Supplies¦Baker¦Buttes / Center State P & S Modesto¦Cal-Stream¦Capitol Pipe & Supply¦CFM Equipment¦Coram HVAC¦Daikin Comfort¦DMG¦Ferguson¦Fresno Distributing¦Geary Pacific¦General Plumbing Supply¦Hajoca Corporation¦HD Supply¦Heating and Cooling Supply¦Hirsch Pipe & Supply¦Home Depot¦Howard Industries¦Johnson Control¦Johnstone Supply¦Keller Supply Company¦Lennox¦Lowe's¦Norman S Wright¦Pace Supply¦Reece Express Pipe and Supply¦R.E. Michel¦RSD¦Rubenstein Supply Company¦Sierra Mountain Pipe and Supply¦Sigler¦Slakey Brothers¦Smardan Hatcher Co¦Speciality A/C Products¦Standard Plumbing Supply¦US Air Conditioning¦WHCI Wholesale PLBG Supply Company¦Western Nevada Supply¦Winsupply¦Not listed |  | Project Information | Claim
Other distributor not listed |  |  | Project Information | Claim | Which distributor was the equipment purchased through? | = | Not listed
Was HERs testing required? | Yes¦No | If yes, please upload the full HERS report. If no, PNNL Quality Install export with nameplate photo(s) are required. | Project Information | Claim
If HERS testing was not required, select the exception: | Mobile Home¦Ductless mini-split systems in exempt climate zones¦Asbestos present¦Factory charged packaged unitary¦Other, described in notes |  | Project Information | Claim | Was HERs testing required? | = | No
What was done with the furnace? | Fully decommissioned¦Setup to run in emergency scenarios only¦Setup to use the blower only | Gas furnaces can be left for backup heat if heat pump sized to handle all of the heating load for the household | Project Information | Claim
What changeover temperature was programmed? |  |  | Project Information | Claim | What was done with the furnace? | = | Setup to run in emergency scenarios only
What is the age of the furnace? |  |  | Project Information | Claim | What was done with the furnace? | = | Setup to run in emergency scenarios only
What controls are used to enable dual fuel operation? | Amana Heating and Air Conditioning Amana Smart Thermostat ATST-CWE-BL-A¦American Standard Gold 824 ACONT824AS52D*¦American Standard Silver 824 ACONT724AS42D*¦American Standard Platinum 850 ACONT850AC52U*¦American Standard Platinum 1050 AZON1050AC52Z*¦American Standard Link 360 ALINK360A2VVU*¦AprilAire 8446, 8448 8446, 8448¦AprilAire 8465, 8466, 8476 8476¦AprilAire 8600, 8620, 8910 8600, 8620, 8910¦AprilAire Thermostat S86NMU¦AprilAire Thermostat S86NMUPR¦AprilAire Wi-Fi Thermostat S86WMUPR¦AprilAire Thermostat S84NSU¦AprilAire 8476W, 8620W, 8910W, 8920W 8476W, 8620W, 8910W, 8920W¦AprilAire 8800 8800¦AprilAire 8810, 8820, 8830, 8840 8810, 8820, 8830, 8840¦Armstrong Comfort Sync A3 507175-01¦Bosch Bosch Connected Control BCC100 Thermostat BCC100¦Bryant Evolution System Control SYSTXBBECC01¦Bryant COR T6-WEM01-A¦Bryant COR 5C TSTWHA01¦Bryant COR 7C TSTWRH01¦Building36 Alarm.com Smart Thermostat ADC-T2000¦Building36 Alarm.com Smart Thermostat HD ADC-T40K-HD¦Building36 Alarm.com Smart Thermostat (Design Studio Series) ADC-T3000¦Building36 Intelligent Thermostat B36-T10¦Carrier COR TP-WEM01-A¦Carrier COR 5C TSTWHA01¦Carrier COR 7C TSTWRH01¦Carrier Infinity System Control SYSTXCCITC01-B, SYSTXCCWiC01-B¦Cielo WiGle Inc. Cielo Smart Thermostat CT101WA¦Daikin Daikin One Touch Smart Thermostat DTST-TOU-A¦Daikin One+ DTST-ONE-ADA-A¦Daikin One+ DTST-CWBSA-NI-A¦Daikin (Airzone) DKN Plus Interface AZAI6WSPDKC¦Daikin Adaptive Touch Controller BACRC-T-P01¦Daikin Adaptive Touch Controller BACRC-TH-P01¦Daikin Adaptive Touch Controller BACRC-THO-P01¦Daikin Adaptive Touch Controller BACRC-THOC-P01¦Daikin Wiring Adaptor PCB KRP1C74/75¦Ecoer Ecoer Smart Thermostat EST1701¦Ecoer Ecoer Gateway EG910L¦Ecobee Ecobee 3 Lite EB-STATE3LT***, EB-STATE3-01¦Ecobee Ecobee 4 EB-STATE4***¦Ecobee Ecobee Smart Thermostat with Voice Control EB-STATE5***¦Ecobee Ecobee Thermostat EB-STATE6***¦Heil Ion™ System Control SYST0101CW¦Honeywell Home Prestige IAQ YTHX9421R5085WW¦Honeywell Home Prestige IAQ YTHX9421R5101WW¦Honeywell Home Smart Round TH8732WFH 5002¦Honeywell Home T6 Pro TH6320U 2008¦Honeywell Home T6 Pro Smart TH6320WF 2003¦Honeywell Home VisionPro 8000 Smart TH8320R 1003¦Honeywell Home VisionPro 8000 Smart TH8321R 1001¦Honeywell Home WiFi 9000 TH9320WF5003/U¦Honeywell Home WiFi 8000 TH8321WF 1001¦Honeywell Home/Resideo True Zone Dual Fuel Zoning Panel HZ432¦Honeywell Home/Resideo True Zone Dual Fuel Zoning Panel Kit HZ432K¦Honeywell Home/Resideo True Zone Dual Fuel Zoning Panel Kit TZ-4¦Honeywell Home/Resideo T10 ProSmart with Redlink Sensor THX321WFS2001W¦Honeywell Home/Resideo T10 ProSmart THX321WF2003W¦Lennox Industries Inc. S40 Smart Thermostat 22V24¦Lennox Industries Inc. S30 Ultra Smart Thermostat 19V30¦Lennox Industries Inc. E30 Smart Thermostat 15S63¦Lennox Industries Inc. M30 Smart Thermostat 15Z69¦Lennox Industries Inc. iComfort E30 E30¦Lennox Industries Inc. iComfort M30 M30¦Lennox Industries Inc. iComfort S30 S30¦Lennox Industries Inc. iComfort WiFi WiFi¦Lennox Industries Inc. Harmony III 505,023M5¦LG Electronics Thermostat PREMTVBC0¦LG Electronics Thermostat PREMTBVC1¦LG Electronics Thermostat PREMTBVC2¦LG Electronics Thermostat PREMTBVC3¦LG Electronics Thermostat PREMTA000¦LG Electronics Thermostat PREMTBVC4¦LG Electronics Thermostat PREMTC00U¦LG Electronics Thermostat PREMTB100¦LG Electronics Thermostat PREMTA200¦LG Electronics Dry Contact PDRYCB320¦LG Electronics (Airzone) Aidoo Pro AZAI6WSPLGE¦LG Electronics (Airzone) VAF AZVAFCB2LGE¦Google Nest Nest Learning thermostat - Third Gen T3007ES, T3008US, T3016US, T3017US, T3021US¦Mitsubishi Electric Kumo Cloud with IFTTT compatible Thermostat PAC-USWHS002-WF-1 or PAC-USWHS002-WF-2¦Google Nest Nest Thermostat GA02180-US¦Google Nest Nest Thermostat E T4000ES¦Robertshaw Robertshaw 9725I2¦Robertshaw Robertshaw 9825I2¦Ruud Econet Thermostat ETST700SYS¦Tekmar Invita 564¦Tekmar Invita 564B¦Tekmar 557¦Tekmar 563¦Trane XL 824 TCONT824AS52D*¦Trane XR 724 TCONT724AS42D*¦Trane XL 850 TCONT850AC52U*¦Trane XL 1050 TZON1050AC52Z*¦Trane Link 360 TLINK360A2VVU*¦Nexia Trane/American Standard/Service First ACONT624AS42D* TCONT624AS42D* |  | Project Information | Claim | What was done with the furnace? | = | Setup to run in emergency scenarios only
Select all additional measures completed with the installation. | Duct Replacement¦Smart Thermostat Installed¦Ducts Sealed¦Completed Manual-J¦Completed Manual-D¦None | Please select all that apply. If none, please select "None" | Project Information | Claim
Was this an emergency replacement? | Yes¦No |  | Project Information | Claim
Was any extensive electrical work required? |  |  | Project Information | Claim
Type of eligible electrical upgrade | Service line upsizing¦Installation of Meter Socket Adapter¦Main service panel upsizing¦Main service panel replacement¦Installation of a smart load center¦Installation of a smart breaker¦Installation of a subpanel or creating additional panel space¦Other¦None |  | Project Information | Claim
What of the following work was included? | Insulation abatement or environmental remediation¦Envelope air sealing and/or insulation upgrade¦Air filtration upgrade¦Whole house fan install¦Zoning (any kind)¦Duct work (aside from duct sealing/replacement)¦Window repair or replacement¦Roof repair or replacement¦Dedicated circuit installed¦Rooftop solar system installed¦Battery system installed (for backup/reliability)¦Other¦None | Please select all that apply. If none, please select "None". | Project Information | Claim
Did you install electric resistance heat strips for supplemental backup heat? | Yes¦No |  | Project Information | Claim
At what temperature were the electric resistance heat strips programmed to begin providing supplemental heat? |  |  | Project Information | Claim | Did you install electric resistance heat strips for supplemental backup heat? | = | Yes
Were there any combustion appliances left in the home after the retrofit? | Yes¦No | If Yes, CAS test-in and test-out is required. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Does the ambient CO test pass? | Passed¦Failed¦N/A | Please provide CAS test-out results. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Does the spillage test(s) pass? | Passed¦Failed¦N/A | Please provide CAS test-out results. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Does the gas leak detection test pass? | Passed¦Failed¦N/A | Please provide CAS test-out results. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Does the undiluted CO test pass? | Passed¦Failed¦N/A | Please provide CAS test-out results. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Does the venting test pass? | Passed¦Failed¦N/A | Please provide CAS test-out results. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Are there signs of mold or moisture in or outside the home? | Yes¦No | Please provide Home Safety Assessment results. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
What is the roof condition? | Good¦Potential Issues | Please provide Home Safety Assessment results. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
What is the drainage system condition? | Good¦Potential Issues | Please provide Home Safety Assessment results. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Were all safety check results disclosed to the homeowner? | Yes¦No | Safety check disclosure is a requirement for HEEHRA projects. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Conditioned floor area |  | Please provide the conditioned floor area of the individual dwelling unit in square feet. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Limited HVAC Assessment form |  | Required for all single family HEEHRA projects. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Home Safety Assessment Form |  | Required for all single family HEEHRA projects. | Safety and Testing Information | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Combustion Safety Form |  | Required when combustion appliances remained in home. | Safety and Testing Information | Claim | Were there any combustion appliances left in the home after the retrofit? | = | Yes
Previous Heating Equipment Photo |  | Including equipment name plate. Project cannot be replacing a heat pump. | Photos | Claim
Capped Gasline Photo |  | Required when fully decommissioning gas furnace or leaving furnace for blower only. | Photos | Claim | What was done with the furnace? | in | Fully decommissioned¦Setup to use the blower only
HERS Report |  |  | Photos | Claim | Was HERs testing required? | = | Yes
PNNL Quality Install Tool Export |  | Includes post-install nameplate photo. | Photos | Claim | Was HERs testing required? | = | No
Previous Cooling Equipment Photo |  |  | Photos | Claim | Did the customer have a previous AC system? | = | Yes
Please select the name(s) of any other incentive programs being applied for. | 3C-REN¦Alameda Municipal Power¦Anaheim Public Utilities¦Azusa Light and Water¦Banning Electric Utility¦BayREN¦Berkeley Public Library¦Black Gold Cooperative Library System¦Central Coast Community Energy¦City of Albany¦City of Healdsburg¦City of Lafayette¦City of Lompoc¦City of Palo Alto Utilities¦City of Piedmont¦City of Redwood City¦City of Roseville¦City of San Leandro¦City of Santa Monica¦City of Shasta Lake¦City of Sunnyvale¦City of Ukiah Electric Utility¦Comfortably CA¦East Bay Community Energy¦Electrify Marin¦Energy Smart Homes¦Glendale Water and Power¦Golden State Rebates¦LADWP¦Lassen Municipal Utility District¦Lodi Electric Utility¦MCE¦Modesto Irrigation District¦Moreno Valley Utility¦Multifamily Energy Savings Program¦Pacific Gas & Electric Company¦Pasadena Water & Power¦Peninsula Clean Energy¦Plumas-Sierra Rural Electric Co-op¦Redding Electric Utility¦Riverside Public Utilities¦Sacramento Public Library¦San Diego Green Building Council¦Silicon Valley Clean Energy¦SMUD¦Sonoma Clean Power¦Southern California Edison¦Trinity P.U.D.¦Turlock Irrigation District¦Other¦None |  | Additional Incentives | Claim
Total additional incentive amount being applied for. |  | This would not include TECH, HEEHRA, or 3CE incentives | Additional Incentives | Claim
Please select the Quick Start Grant program associated with this project | None¦350 Bay Area¦Climate Resolve¦Diversity Coalition¦RHA¦Viridis Consulting¦City of Sacramento¦Bright Power | If unclear regarding what this is, please select "None". | Additional Incentives | Claim
Has the customer received any other federal funding (including IRA) for their project (excluding tax credits)? | Yes¦No |  | Additional Incentives | Claim | Are you seeking a HEEHRA rebate? | = | Yes
Customer Name |  |  | Customer Information | Pre-Approval
What AMI range does the customer fall into? | <80% AMI¦80%-150% AMI¦>150% AMI or Unsure |  | Customer Information | Pre-Approval
Is this a 3CE customer? | Yes¦No |  | Customer Information | Pre-Approval
Are you seeking a HEEHRA rebate? | Yes¦No |  | Customer Information | Pre-Approval | What AMI range does the customer fall into? | in | <80% AMI¦80%-150% AMI
Proof of income range (PDF) from TECH Income Verification Portal |  |  | Customer Information | Pre-Approval | What AMI range does the customer fall into? | in | <80% AMI¦80%-150% AMI
Installation County | Alameda ¦ Alpine ¦ Amador ¦ Butte ¦ Calaveras ¦ Colusa ¦ Contra Costa ¦ Del Norte ¦ El Dorado ¦ Fresno ¦ Glenn ¦ Humboldt ¦ Imperial ¦ Inyo ¦ Kern ¦ Kings ¦ Lake ¦ Lassen ¦ Los Angeles ¦ Madera ¦ Marin ¦ Mariposa ¦ Mendocino ¦ Merced ¦ Modoc ¦ Mono ¦ Monterey ¦ Napa ¦ Nevada ¦ Orange ¦ Placer ¦ Plumas ¦ Riverside ¦ Sacramento ¦ San Benito ¦ San Bernardino ¦ San Diego ¦ San Francisco ¦ San Joaquin ¦ San Luis Obispo ¦ San Mateo ¦ Santa Barbara ¦ Santa Clara ¦ Santa Cruz ¦ Shasta ¦ Sierra ¦ Siskiyou ¦ Solano ¦ Sonoma ¦ Stanislaus ¦ Sutter ¦ Tehama ¦ Trinity ¦ Tulare ¦ Tuolumne ¦ Ventura ¦ Yolo ¦ Yuba |  | Site Information | Pre-Approval
Previous Existing Primary Fuel Type | Gas¦Electric¦Propane¦Other | Project cannot replace another heat pump. | Site Information | Pre-Approval
Does the customer have an existing A/C system? | Yes¦No | The heat pump installed must provide a majority of the cooling for the house. | Site Information | Pre-Approval
How many condensers do you intend to install? |  | TECH and 3CE can incentivize up to 2 condensers. HEEHRA can only incentivitze the first condenser. | Site Information | Pre-Approval
TECH Terms and Conditions Signed Date |  | If invoice was dated after 10/23/24, provide the signature date of TECH customer T&Cs. Provide the sales contract date if not. | Project Information | Pre-Approval
Signed TECH T&Cs Upload |  | If invoice was dated after 10/23/24, provide the TECH customer T&Cs. Provide the signed sales contract if not. | Project Information | Pre-Approval
Is the equipment you intend to install on the ENERGY STAR Qualified Product List? | Yes¦No |  | Project Information | Pre-Approval
Is a new gas furnace being installed in addition to the heat pump? | Yes¦No | New gas furnaces installed as part of the heat pump project are not eligible for incentives | Project Information | Pre-Approval
What are you planning on doing with the existing furnace? | Fully decommissioned¦Setup to run in emergency scenarios only¦Setup to use the blower only | Gas furnaces can be left for backup heat if heat pump sized to handle all of the heating load for the household | Project Information | Pre-Approval
Has the customer received any other federal funding (including IRA) for their project (excluding tax credits)? | Yes¦No |  | Additional Incentives | Pre-Approval | Are you seeking a HEEHRA rebate? | = | Yes